[image: image1.png]uonedyIds spdureg
SI[I0g AN -I[qIXd] ueArg




CLM, HECLM, K & RV Series 

Water & Steam Boilers

“Knockdown” Type



Please delete this paragraph from the standard CLM, HECLM, K or RV Series boiler specification:
The boiler shall be constructed and assembled as a completely packaged unit ready for field connections to the water supply, return connection, electrical power supply, fuel supply(s), relief valve discharge, building management controls and flue-gas vent.  

And substitute these paragraphs: 

The boiler shall be constructed and assembled as a “Knockdown” unit so as to allow for field disassembly and reassembly.  The boiler shall be provided with a factory hydro test to assure the quality of the vessel and also be provided with the ASME certification report.

The boiler shall not require ASME certified code welding for reassembly; only standard non-code procedures shall be required.

Once the reassembly has been completed, the unit will be ready for field connections to the water supply, return connection, electrical supply, fuel supply(s), relief valve discharge, building management controls and flue-gas vent.
Form 2217

( Rev 11/10/04  (  Repl 03/01/04 (
    Page 1 of 1

