[image: image1.png]uonedyIds spdureg
SI[I0g AN -I[qIXd] ueArg




DR, CLM, AB & RV Series 

Indirect Pool Heaters

Forced Draft – Gas, Oil, Gas/Oil Fired



Please delete these paragraphs from the standard DR, CLM, AB & RV Series Boiler Sample Specification:
The boiler shall be a Bryan Model ________ flexible water tube boiler, with a capacity of ________ BTUH input and ________ BTUH output.  (________ HP)

The boiler shall be constructed and assembled as a completely packaged unit ready for field connections to the water supply, return connection, electrical power supply, fuel supply(s), relief valve discharge, building management controls and flue-gas vent.

The water boiler shall be manufactured in strict accordance with the ASME Heating Boiler Code, Section IV, and shall bear the ASME stamp “H” for a maximum working pressure of 160 PSIG at 250oF. 

(Also available for higher pressure up to 250 PSIG and temperatures to 300oF per ASME Section I)
And substitute these paragraphs: 

The Pool heater shall be a Bryan Model ________ Indirect Pool Heater, with a capacity of ________ BTU input and ________ BTU output and water heating capacity of ________ gallons per hour, with a temperature rise from ________oF to ________oF.  

The pool heater shall be constructed and assembled as a completely packaged unit ready for field connections to the water supply, return connection, electrical power supply, fuel supply(s), relief valve discharge, building management controls and flue-gas vent.
The pool heater shall be manufactured in strict accordance with the ASME Heating Boiler Code, Section IV, and shall bear the ASME stamp for a maximum working pressure of 125 PSIG at 250oF temperature.

The pool heater shall be furnished complete with one or more indirect heat exchangers.  The heat 

exchanger(s) shall be installed in the upper drum of the boiler, will be capable of absorbing 100% 

of the total boiler output as specified and rated operation temperatures.  Heat exchanger(s) to be constructed of heavy copper seamless finned tubing, attached to boiler shell by means of a gasket and stud type connection and shall be easily removable and replaceable.

POOL HEATER TRIM & CONTROLS

The pool heater shall be furnished with the following fittings and trim:

1. Automatic boiler fill valve

2. Expansion tank

3. ASME safety relief valve for heat exchanger

4. Boiler stop valve

5. Pool water temperature control

Form 2224

( Rev 02/01/04  (  Repl New (
    Page 1 of 1

