Raleigh/Wake City-County

Bureau of Identification

Crime Laboratory Division

LATENT PRINT UNIT TECHNICAL PROCEDURES

Table of Contents

Chapter 1: Evidence Handling	7

1.	Purpose	7

2. 	Scope	7

3. 	Abbreviations	7

4.	Equipment, Materials, and Reagents	7

5.	 Retrieval of Latent Print Evidence from the Latent Evidence Locker	7

6.	Receipt of Ten Print Comparison Requests	7

7.	Receipt of Digital Evidence	8

8.	Item Value	8

9.	Limitations	8

10.    Safety	8

11.    References	8

Chapter 2: Automated Systems	10

1.	Purpose	10

2.	Scope	10

3.	Abbreviations	10

4.	Equipment, Materials, and Reagents	10

5.	SPEX Database Searching	10

6.	SAFIS Database Searching	11

7.	Next Generation Identification Database Searching	12

8.	CSIPix® Comparator	12

9.	Maintenance	12

10.    Limitations	12

11.    Safety	12

12.    References	13

Chapter 3: Work Process	15

1.	Purpose	15

2.	Scope	15

3.	Abbreviations	15

4.      Equipment, Materials, and Reagents	15

5.      Prioritization for Database Searching	15

6.	Database Searching	15

7.      Obtaining Known Standards	16

8.      Rapid Identification Notification	16

9.      AFIS Association Examinations	17

10.    Limited Examinations	18

11.    Full Case Examinations	18

12.    Requests to Compare	18

13.    Ten Print Examinations	18

14.    Deceased Individuals	19

15.    Non-Testimonial Orders (NTO)	20

16.    Stop Work Requests	20

17.    Limitations	20

18.    Safety	20

19.    References	21

Chapter 4: Digital Images	23

1.	Purpose	23

2.	Scope	23

3.	Abbreviations	23

4.	Equipment, Materials, and Reagents	23

5.	Identifying Digital Images to be Searched	23

6.	Searching Digital Images in SPEX	24

7.	Searching Digital Images in SAFIS and NGI	24

8.	Examination of Digital Images	24

9.	Limitations	24

10.    Safety	24

11.    References	25

Chapter 5: ACE-V and Examination Markings	26

1.	Purpose	26

2.	Scope	26

3.	Abbreviations	26

4.	Equipment, Materials, and Reagents	31

5.	Case Notes	31

6.	Analysis, Comparison, Evaluation and Verification (ACE-V)	31

7.	Conflict Resolution	32

8.	Erroneous Conclusions	33

9.	Examination Markings	33

10.    Limitations	35

11.    Safety	35

12.    References	35

Chapter 6: Case File Reviews and Reports	37

1.	Purpose	37

2.	Scope	37

3.	Abbreviations	37

4.	Equipment, Materials, and Reagents	37

5.	Technical Reviews	37

6.	Examinations and Reports	38

7.	Limitations	41

8.	Safety	41

9.	References	41

Chapter 7: Collection of Major Case Style Impressions and Processing Hands and Feet of Deceased Individuals	43

1.	Purpose	43

2.	Scope	43

3.	Abbreviations	43

4.	Equipment, Materials, and Reagents	43

5.	Collection of Major Case Style Impressions	44

6.	Processing of Hands and Feet of Deceased Individuals	45

7.	Limitations	46

8.	Safety	46

9.	References	47

Chapter 8: Glossary	49

# Chapter 1: Evidence Handling

## 1.	Purpose

This procedure establishes additional guidelines for evidence handling in the Latent Print Unit.

## 2. 	Scope

This procedure applies to all persons assigned to and performing examinations in the Latent Print Unit.

## 3. 	Abbreviations

N/A

## 4.	Equipment, Materials, and Reagents

N/A

## 5.	 Retrieval of Latent Evidence from the Latent Evidence Locker

  - Latent evidence deposited within the designated Latent Evidence Locker of the Main Evidence Vault will be triaged by a Forensic Manager or designee within the confines of the Main Evidence Vault.

  - Latent Print Examiners will remove their cases independently from the designated Latent Evidence Locker of the Main Evidence Vault.

## Receipt of Comparison Requests

  - Request for comparisons require completion of a CCBI Laboratory Request Form (CCBI-002).

  - Completed request forms may only be submitted through the e-mail portal for receiving Latent Print Unit requests at ccbilatentrequest@wakegov.com or submitted as a hard copy to the CCBI Laboratory.

  - Comparison requests will be reviewed by a Forensic Manager or designee prior to acceptance. Comparison requests may be denied at the discretion of the Forensic Manager based upon the information provided by the requesting agency. The Forensic Manager will notify the requesting agency if a comparison request has been denied and provide a reason for the denial. All communication regarding comparison requests will be included in the case file.

  - If the known standards for the subject listed on the request forms cannot be located, the requestor will be notified that the comparison cannot be completed and that the requestor is responsible for obtaining the subject’s known standards if the requesting individual still wants the examination completed.

## 7. Receipt of Digital Evidence

  - All latent digital evidence must be submitted via the CCBI secure URL.

## Item Value

  - An initial evaluation of all friction ridge impressions within an item of evidence will be conducted prior to database entry to determine suitability for database entry. If no friction ridge impressions within an item are determined to be suitable for database entry, the item will be analyzed for any potential suitability for comparison.

  - Friction ridge impressions determined to be Not Suitable for Database Entry (NSD) will not be entered into any AFIS. All friction ridge impressions not entered into AFIS will be considered not to have met the criteria required for database entry and to be NSD.

    - The determination of database suitability will be based upon the limitations of AFIS as described in the Latent Evidence Quality and Suitability Chart, AFIS user guides, or as communicated by AFIS vendors.

  - If all the friction ridge impressions within an item of evidence have been determined to be NSD, then the evidence item will be marked “NSD” along with the Latent Print Examiner’s initials and date.

  - If all friction ridge impressions within an item of evidence are determined not to be Of Value Impressions (OVI), then the evidence item will be reported as a No Value Item (NVI) and marked “NVI” along with the Latent Print Examiner’s initials and date .

  - Requests to Compare will not be accepted for any evidence item in which a laboratory report has been published and all friction ridge impressions have previously been marked and reported NVI.

  - The following Latent Evidence Quality and Suitability Chart will be utilized as a guide when determining and reviewing evidence suitability.

| Latent Evidence Quality and Suitability Chart |
| --- |
| Level | Quality | Suitability |
| High | Level 1 is distinct Anatomical region is distinct orientation is distinct focal point is distinct Abundant Level 2 details are distinct Abundant distinct Level 3 details | Database Search Comparison |
| Medium High | Level 1 is distinct Anatomical region may be distinct orientation may be distinct focal point may be distinct Numerous level 2 details are distinct May be highly discriminating Some distinct Level 3 details. | Database Search Comparison |
| Medium Low | Level 1 is partially distinct Anatomical region may be distinct orientation may not be distinct focal point may be distinct Level 2 details are distinct 5 or more contiguous minutiae Highly discriminating Minimal distinct level 3 details | Database Search Comparison |
| Low | Level 1 may not be distinct Anatomical region may be known Orientation may be known Lack of focal point Few (3-5) Level 2 details are distinct Minimal or no distinct Level 3 details | Database Search subject to limitations listed in AFIS user guide or guidelines communicated by AFIS vendor Comparison possibility |
| No Value | Level 1 is not distinct Anatomical region unknown Orientation unknown Absence of focal point Very few (0-3) Level 2 details are distinct No distinct Level 3 details | Not suitable for Database Search Not suitable for Comparison |

## 9.	Limitations

N/A

## 10.	Safety

N/A

## 11.	References

N/A

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/18 | 1 | New 2018 Tech Procedures |
| 8/1/18 | 2 | Removed “and flagged for Technical Review” from 5.1 |
| 7/8/19 | 3 | Removed Ten Print Exam Request Form Requirement; Added “Item Value” section. |
| 9/10/20 | 4 | Replaced Supervisor with Forensic Manager throughout; changed latent locker to Latent Evidence Locker; Changed Laboratory Examination Request form to CCBI Laboratory Request Form; Added 6.3 regarding review of comparison request by Forensic Manager; Removed “Ten Print” in 6 and 6.1.; Added 8.6 and chart; changed all latent impressions or impressions to friction ridge impressions |

# Chapter 2: Automated Systems

## Purpose

This procedure establishes the general guidelines for searching friction ridge impressions through Automated Fingerprint Identifications Systems (AFIS) and other automated systems utilized by the CCBI Latent Print Unit.

## Scope

This procedure applies to all Latent Print Examiners utilizing AFIS and the other software systems described in this procedure.

## Abbreviations

N/A

## Equipment, Materials, and Reagents

  - SPEX & scanner

  - SAFIS – scanner & camera

  - CSIpix® software

## SPEX Database Searching

  - Detailed instructions as to the entry of friction ridge impressions into the database may be found in the SPEX Forensics PrintQuest® AFIS Operation Manual v. 2.4, Chapter 4: Latent Processing.

    - In the “Latent Text Record Input” step, the following information will be entered in the “Case Number” field:

5.1.1.1. Should a case number be less than four digits, zeros will proceed the number(s).

    - When creating a new case in “Latent Text Record Input,” all applicable fields must be

filled out.

5.1.2.1. The “Offense” field is only applicable to delineate between “7” cases (LFA vs.

RMV), “0” cases, or whenever else necessary. Otherwise, it is not a

requirement.

5.1.2.2. The “Note” field may be utilized as needed for any other additional

information.

    - Latent lift location information for every friction ridge impression scanned must be entered. This step is taken after the preliminary scan is complete in the “Latent Scanning/Acquisition/Import” section. Click the “Examination Number” button at the top center of the screen, or press Ctrl+X on the keyboard. A text box will appear, and the lift card number and lift location information should be entered here. Click “OK” once completed, and then the final scan of that friction ridge impression may be performed.

  - Detailed instructions as to the entry of ten-print cards into the database may be found in the SPEX Forensics PrintQuest® AFIS Operation Manual v. 2.4, Chapter 5: Ten-Print Card Processing.

    - Ten-print cards may be manually entered into the database to compare against all unsolved friction ridge impressions, as well as to compare against case-specific friction ridge impressions. Steps for this can be found in the chapter referenced above.

  - Detailed instructions as to the reviewing of results from database searching or ten-print entry may be found in the SPEX Forensics PrintQuest® AFIS Operation Manual v. 2.4, Chapter 6: Search Results & Database Control.

    - Any AFIS association produced from database searching will be printed out and placed in the case file.

5.3.1.1. A screenshot containing the Latent Record Info and associated Ten-Print Info will

be printed one time per subject, per case.

5.3.1.2. A screenshot of the image sheets for each AFIS association will be printed.

## SAFIS Database Searching

  - Detailed instructions as to the entry and searching of friction ridge impressions, and review of candidate lists, and retrieval of ten print cards may be found in the Idemia MBIS Version 5 Latent Expert Users Guides and training videos. This material is located on the SAFIS desktop.

    - When creating a new case, the following information will be entered

Example: C118001234AA

| C | 1 | 18 | 001234 | AA |
| --- | --- | --- | --- | --- |
| CCBI’s Identifier | Crime Type Index | Year (last 2 digits) | CCBI Case # (to consist of 6 digits) | Examiner Initials |

  - Any AFIS associations produced from database searching will be printed out and placed in the case file.

## Next Generation Identification Database Searching

  - Once a determination has been made that the results from SAFIS database searching are negative, depending on the friction ridge impression quality, persons crimes may be entered into the Federal database (NGI) as appropriate.

  - To search friction ridge impressions in NGI, at the search parameter screen click the “Extra databases”, “FBI”   button to submit a latent search through the federal database system.

  - To check federal search results, go to the home page and click on the FBI tab queues. Chose the case and click on it to open.

  - For retrieving of ten print cards from the federal database, refer to the user’s guide and/or the supplied training videos.

## CSIPix® Comparator

  - The CSIpix® V4 Comparator software is an application that allows the user to quickly and efficiently analyze, compare and evaluate two side-by-side images without the use of additional photo editing software.

  - For steps on how to upload, enhance, compare, annotate and print images, refer to the CSIpix® user manual, located under the “Help” button within the software.

  - When an examination is performed using this software, it must be referenced in the Latent Print Examination Note Sheet, under the “Analysis/Comparison” section.

  - See Chapter 5, Section 11 for standard database searching, identification and verification markings.

## Maintenance

9.1. Latent Print Examiners will document problems, maintenance, and repair of automated system

equipment on the Latent Print Unit Maintenance Log. The documentation will include:

9.1.1. The date of equipment problems and maintenance and repair activities.

9.1.2. The name of the person(s) observing and resolving problems, and maintenance and

repair activities.

9.1.3. A description detailing problems and maintenance and repair activities.

9.2. The Latent Print Unit Maintenance Log is located on the CCBI Shared Network Drive S:.

## Limitations

N/A

## Safety

N/A

## References

  - SPEX Forensics PrintQuest® AFIS Operation Manual v. 2.4

  - Idemia MBIS Version 5 Latent Expert Users Guides and training videos

  - CSIpix® V4 Operation Manual

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/2018 | 1 | New 2018 Tech Procedures |
| 7/8/2019 | 2 | Changed SICAR to Foot Print EXpert (FPX); Updated SAFIS and NGI searching instructions to reference user’s guide and training videos |
| 10/21/2019 | 3 | Removed FPX and scanner from Equipment; Removed FPX Searching section; Removed SoleMate FPX User Manual from References |
| 9/10/20 | 4 | Changed print to friction ridge impression throughout; removed “latent print processing” in 5.1; removed “ten-print card processing” in 5.2; removed “search results procedure” in 5.3 |

# Chapter 3: Work Process

## Purpose

This procedure establishes the general guidelines for the work process within the Latent Print Unit.

## Scope

This procedure applies to all persons assigned to and performing examinations in the Latent Print Unit.

## Abbreviations

N/A

## Equipment, Materials, and Reagents

N/A

## Prioritization for Database Searching

  - Cases will be prioritized for database searching based upon the categorization of the offense listed on the CCBI Evidence Inventory Form. Cases will be categorized as either a persons crime case or a property crime case. In instances in which a case cannot be categorized as either a persons crime case or a property crime case based upon the offense listed (i.e. requests for service), the Latent Print Examiner will seek further clarification.

  - Persons crime and rush request cases will be given a primary priority for database entry.

  - Residential burglaries and property crime cases involving a firearm will receive secondary priority for database entry.

  - All other property crimes will receive tertiary priority for database entry.

## Database Searching

  - The determination of database searching suitability will be done by the Latent Print Examiner reviewing the evidence. Latent Print Examiners will utilize the Latent Evidence Quality and Suitability Chart located in Chapter 1 as a guide for the determination of database entry suitability. Factors to consider when reviewing evidence include but are not limited to the following:

6.1.1. Quality of the friction ridge impression

6.1.2. Level of distortion

6.1.3. Observable level 1, level 2 and level 3 detail

  - Friction ridge impressions from property crimes, unless otherwise specified, will be entered into SPEX or SAFIS. Property crimes initially entered into SPEX may also be searched in SAFIS or NGI at the documented request of the submitting agency, Wake County District Attorney’s office or other requesting official.

    - Friction ridge impressions from property crimes initially entered into SAFIS are not required to be entered into SPEX.

  - Unless previously entered into SPEX with a positive result, friction ridge impressions from persons crimes, burglaries, crime scenes connected to protest activities, and crime scenes involving businesses that sell firearms and ammunition will be entered into SAFIS.

    - Friction ridge impressions from persons crimes initially entered into SAFIS are not required to be entered into SPEX.

  - Friction ridge impressions from homicides, crime scenes connected to protest activities, and crime scenes involving businesses that sell firearms and ammunition will be entered into NGI when all previous database search results are determined to be negative.

  - Friction ridge impressions that have been entered into an AFIS database may be re-indexed by the examiner assigned to the case or with permission from the Forensic Manger.

  - At the conclusion of a database search, Latent Print Examiners will place their initials and date of the search in the designated area on the latent envelope.

  - Friction ridge impressions for persons crimes will be retained in the SPEX system indefinitely, or until advised by the investigating authority that certain cases may be removed from the system.

  - Friction ridge impressions from all Stop Work Cases will be removed from AFIS, and the latent evidence will be returned to the requesting agency.

## AFIS Reverse Searches

  - AFIS Reverse Search Que will be reviewed and cleared weekly or on a timelier schedule established by the Forensic Manager or Technical Leader.

  - All printed AFIS Reverse Search results will be given to the Forensic Manager or designee for case assignment.

  - A weekly email notification will be sent by the Forensic Manager or designee to each agency listing cases in which AFIS Reverse Search results have been determined to be a victim, complainant, officer, or subject previously reported in a CCBI Laboratory Report.

    - The email notification will include the following:

      - Email subject “AFIS Reverse Search Notification”

      - “Latent evidence entered into an Automated Fingerprint 	Identification System

(AFIS) has generated a Reverse Search to a person previously listed in a 	CCBI 	Laboratory Report for the following cases:”

      - Agency case number(s) and corresponding CCBI case number(s)

      - “No laboratory testing or further notification will be provided in the cases listed 	in this email unless requested. If additional work is necessary in any of the above 	cases, please submit a CCBI Laboratory Examination Request Form to 	ccbilatentrequest@wakegov.com.”

      - “**Note-Any AFIS Reverse Search to a person not previously reported in a 	CCBI Laboratory Report will be reported in a CCBI Laboratory Report.**”

    - The email notification will be reviewed by a Latent Print Unit Technical Leader or CCBI Forensic Manager for accuracy before being sent.

    - A copy of the email notification and the applicable Reverse Search hit sheet(s) will be placed in the applicable case file as administrative documents.

  - All cases in which an AFIS Reverse Search result is determined not to be a victim, complainant, officer, or person previously listed in a CCBI Laboratory Report will be worked and reported as an AFIS Association or Limited Identification.

## Obtaining Known Standards

  - Known standards are required for subject comparison when an AFIS database search yields an association, and when specific subjects are requested for comparison.  Standards will be obtained from the following sources:

    - DataWorks Plus NIST Manager

    - CCBI Records Division (inked original hard copy)

    - SAFIS

    - FBI/CJIS (pending access)

  - Standards will be treated as reference materials.

  - If an identification is made, the known standard or a copy of the known standard will be retained as a technical record in the case file.

  - All original known standards removed from CCBI records division may be temporarily used for the exam, but the original version must be retained in the case file from which it was retrieved.

## Rapid Notification

  - Subject identifications which are related to persons crimes, crime scenes connected to protest activities, and crime scenes involving business that sell firearms and ammunition will require an email known as a Rapid Notification to be sent to the submitting agency as soon as possible. Other types of cases may be approved for a Rapid Notification with approval from a Technical Leader and/or Forensic Manager. Approval will be documented in the case file.

  - Verification of each subject identification will be completed along with the examination notes prior to dissemination of a Rapid Notification.

  - A Rapid Notification e-mail will be sent to the submitting agency notifying them of the subject identification. A copy of the e-mail will be retained in the case file as an administrative record.

    - Rapid Notifications will be created and disseminated as follows:

      - The Latent Print Examiner will submit the case file to a Verifier.

      - The Verifier will a review the case file and verify the latent identification and 	create the Rapid Notification using the Rapid Notification Email Form

(CCBI-168).

      - The verifier will send the Rapid Notification e-mail to the Latent Print Examiner 	and return the case file to the Latent Print Examiner.

      - The Latent Print Examiner will review the Rapid Notification e-mail and make 	any necessary administrative corrections and forward the Rapid Notification 	email to the appropriate agency.

      - The Latent Print Examiner will be responsible for placing a copy of the Rapid 	Notification e-mail in the case file.

    - Rapid Notification emails may not reference more than one case.

## AFIS Association Examinations

  - An AFIS Association (AA) is a determination by a Latent Print Examiner that a result from an AFIS search of a friction ridge impression to standards in an AFIS database has corresponding characteristics sufficient to conclude the friction ridge impression likely originated from the source in the AFIS database and is suitable for the ACE-V process. An AA is not a latent identification.  An AFIS Association is intended as investigative information.

  - Latent Print Examiners are authorized to perform AA Examinations for:

    - Any property crime case.

    - Any person crime case where the subject generated by AFIS is an investigating officer, reporting person, or victim, based on the information available at the time of the examination.

    - Any person crime case where the subject was previously “Identified” or reported as an AA.

  - The Forensic Manager or Latent Print Unit Technical Leader may approve an AA Examination in a person crime case which has been authorized by the investigating officer or the District Attorney’s Office.

    - The Forensic Manager or Latent Print Unit Technical Leader will document authorization by writing “Approved for AA”, dating and initialing the AFIS database candidate document.

  - All AA reports will include the following:

    - Subject name. (“Deceased”, if applicable)

    - A unique identifying number for the subject such as a:

10.4.2.1. NC SID #

10.4.2.2. FBI #

10.4.2.3. CCBI Local ID #

10.4.3. The location descriptions will be reported as listed on latent evidence lift cards or as

listed in DCS for digital images.

10.4.3.3. Evidence location descriptions will be verified and reported in one of the

following ways:

10.4.3.3.1. Retrieving the latent evidence, verifying the friction ridge impression, 				and reporting the location as listed on the evidence.

10.4.3.3.2. Referencing the location description listed in SPEX after cross-				            referencing the Crime Scene Investigator’s report to ensure consistency.

10.4.3.3.2.1. If a discrepancy exists between the location description

listed in SPEX and the location listed in the Crime Scene 				                    Investigator’s report, the evidence must be retrieved and   					       opened in order to verify the location description.

10.4.3.3.2.2. If a discrepancy exists the Forensic Manager and Latent

Print Unit Technical Leader must be notified. It is the 					       responsibility of the Forensic Manager or Latent Print Unit 					       Technical Leader to ensure that any discrepancy is resolved.

## 11. Limited Examinations

  - Limited Examinations will identify one (1) friction ridge impression per subject in the case or

will be limited in scope to a specific request made by the investigating agency or the

prosecuting attorney.  Latent Print Examiners should make an effort to identify each subject

from an area of evidentiary value when practical.

  - Limited Examinations will be performed for Comparison Requests unless otherwise requested

on the CCBI Laboratory Request Form and approved by the Forensic Manager.

  - Any additional AA to an identified subject will be included in the Limited

Examination Report.

  - Latent Print Examiners are authorized to conduct Limited Examinations in all

laboratory cases, including crimes involving a death.

    - Additional examinations will be completed at the request of the investigating agency or District Attorney’s Office for homicide and death investigations.

## Full Case Examinations

  - Full Case Examinations will only be completed by Latent Print Examiners upon agency request and authorization by the Forensic Manager, at the request of the District Attorney’s Office, or upon notification of an upcoming trial.

  - A full case examination requires the complete examination of all latent evidence in a case to

all relevant subject(s) in the case unless otherwise authorized by the submitting agency or the

District Attorney’s Office.

  - If any Latent Print Examiner has previously made an identification and produced a report in a

case, the additional examination will be assigned to the original Latent Print Examiner when

practical.

## Ten Print Examinations

  - For Ten Print Examination requests, at least one digit from each of the cards listed on the

CCBI-002 will be compared to the card listed as the “pending charge” card. If no pending

charge is listed, each card will be compared to the most recent card or a specific card as directed

by the requestor.

## Deceased Individuals

  - Friction ridge impressions from deceased individuals will be entered into SPEX by the CCBI

Criminal Identification Unit or the Latent Print Unit for identification and investigative

purposes.

  - Latent Print Examiners will be responsible for checking the SPEX reverse que for any reverse

results related to deceased individual friction ridge impressions.

  - An official involved in the death investigation must be notified and authorize the release of any

AFIS Associations resulting from the search of deceased individual friction ridge impressions

prior to the  release of laboratory reports in any other cases. All communication related to the

notification and /or authorization of the release of information will be documented in the case

file.

  - The Latent Print Examiner will send an email notification to the death investigating official. The

email will state the following:

    - “An AFIS search of the post mortem impressions of <insert deceased individual>

generated results to the following cases which may contain investigative information to

other individuals related to this case. Laboratory reports will be generated and issued to

these respective agencies upon your authorization to release this information. These

reports will be issued to the respective agencies thirty days following this notification if

no response is received from your agency.”

    - Investigative Agency

    - Investigative Agency Case#

  - Friction ridge impressions collected from deceased individuals will be entered into Digital

Crime Scene (DCS) and retained on file.

## Non-Testimonial Orders (NTO)

  - The Forensic Manager or Latent Print Unit Technical Leader will review the NTO affidavit and

application and ensure that the case information and referenced subjects in the narrative match

the subject(s), case numbers and victims requested on the CCBI Laboratory Request Form.

  - If there are any discrepancies in the NTO or if information is not clear in the request, the

District Attorney’s Office and the requestor will be notified.

  - NTOs must be strictly followed and any information that stems from an AFIS search of a case

that was not specifically referenced in the NTO will not be permitted by NC Statute to be used

in a case examination.

  - Any known standards entered into the database as requested in the NTO must be removed from

the database repository after the search has concluded or otherwise dispositioned as specified

in the NTO.

## Limitations

N/A

## Safety

N/A

## References

N/A

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/18 | 1 | New 2018 Tech Procedures |
| 4/17/18 | 2 | 9.2.1 revised to allow authorization of property crimes cases 9.2.4 added to authorize AA’s for a property or person crime case where the subject was previously identified or reported as an AA 9.3.1 revised to allow AA approvals by supervisors or technical leaders in property crimes where subject generated by AFIS is not the subject/target of investigation/prosecution 9.3.2 revised to allow AA approvals by supervisors or technical leaders in person crimes with authorization of investigating officer or DA office 9.4.3.1 revised for rewording Removed section 12 “Reverse AFIS Search Results Examinations” |
| 6/18/18 | 3 | 7.1 Addition of “when specific subjects are requested for manual comparison” for known standard requirement 8.3.1.2 Removed “Latent Print Unit Rapid Notification template located in the CCBI Report Writing Manual” and replaced with Rapid Notification Email Form (CCBI-168) 9.4.3 Updated to address location descriptions for AFIS Associations |
| 7/5/18 | 4 | 9.2.1 Changed to authorize AA’s for any property crime Removed 9.2.2 9.2.3 and 9.2.4 removed “property or” 9.3 Changed to allow for AA approval for person crime cases authorized by investigator or DA office Removed 9.3.1 and 9.3.2 |
| 7/8/19 | 5 | Changed Limited Identification Examination to Limited Examination; Changed Limited Examination to allow for specific requests limited in scope; added Ten Print Examination and Deceased Individual sections; Changed Rapid Identification Notification section to allow for Rapid ID’s for cases other than persons crimes with approval |
| 10/21/2019 | 6 | Changed “Triaging” to “Prioritization” for Database searching; Added 5.1 regarding categorization of offenses; Removed requirement to search SPEX database system first; Added requirement to search burglaries in SAFIS when SPEX database search results are negative; Removed statement regarding quality threshold for AFIS systems; Added victims to be reported as AA’s in persons crime cases |
| 8/3/20 | 7 | Added AFIS Reverse Searches section; Changed Unit Supervisor to Forensic Manager throughout; Added limited examinations will be completed for comparison request unless otherwise requested and approved; Removed request to compare section, Removed Habitual Felon and Firearm by Felon in Ten Print Examination Section; added reference to Latent Evidence Quality and Suitability chart in 6.1; Added 6.5 to allow for re-indexing; added crime scenes related to protest activities and businesses that sell firearms and ammunition to be included in SAFIS searching and rapid notification; added 6.8 regarding Stop Work Cases; Changed Deceased Individual section to allow for entry into SPEX by CCBI Criminal ID unit and removed requirement of reported individuals in email notification; Removed 10.4.4; Removed 11.6; changed print to friction ridge impressions throughout; added to 6.3 unless previously entered into SPEX with a positive result; added 6.3.1 |
| 10/26/20 | 8 | Changed 6.2 for property crimes to be entered into SPEX or SAFIS; added 6.2.1; Changed 11.4 to allow limited examinations in homicides; Added 11.4.1; Removed 11.5; Modified 12.1 for full case examination requirement |

# Chapter 4: Digital Images

## Purpose

This procedure establishes process for receipt, searching, and examination of digital images containing friction ridge impressions.

## Scope

This procedure applies to all persons assigned to and performing examinations in Latent Print Unit.

## Abbreviations

3.1. DCS – Dataworks Plus Digital Crime Scene

3.2. DIG - Digital

3.3. DUP – Duplicate

## Equipment, Materials, and Reagents

  - Dataworks Plus Digital Crime Scene

  - SPEX

  - SAFIS

  - NGI

  - CSIpix®

## Identifying Digital Images to be Searched

  - Photographed friction ridge impressions developed by CCBI Crime Scene Investigators are digitally stored in DCS.

  - The Digital Image/Graphics Specialist will provide the Latent Print Examiner with a photo log or contact sheet containing thumbnails of all digital images of friction ridge impressions within the DCS Call Log.

  - The Latent Print Examiner will review all images in the photo log and will indicate on the photo log which images contain friction ridge impressions that may be of potential value for database searching or examination purposes. The following options will be available to the Latent Print Examiner and will be notated on the Photo Log:

5.3.1. Import the image into SPEX

5.3.2. Export the image onto a USB drive

5.3.3. Enhance the image

5.3.4. Print the image

  - Digital images which are not suitable for database entry or are duplicates will be marked NSD DUP respectively on the photo log. Photos may be marked with an overall statement or notated individually. Additionally, an entire photo log may be marked as NVI if all photos are determined to have insufficient quality, quantity and clarity of friction ridge detail or morphological pattern present to render them suitable for comparison based on ACE-V methodology and all photos are NSD.

  - The Digital Image/Graphics Specialist or the Latent Print Examiner will export images from DCS onto a new or wiped USB drive. The Digital Image/Graphics Specialist is responsible for providing USB drives for this purpose.

  - A marked copy of the photo log will be returned to the Digital Image/Graphics Specialist. The original Photo Log will be placed in the Latent Print Examiner’s case file.

## Searching Digital Images in SPEX

6.1. “DIG” and the Call ID number will be entered in the “Note” field in the “Latent Text Record

Input” step.

6.2.  Additionally, the unique Digital ID Number as well as any location description of a digital

image will be entered in the “Examination Number” step, (See Chapter 2 section 5 of the

Latent Print Unit Technical Procedures).

## Searching Digital Images in SAFIS and NGI

7.1. Refer to the Motorola Printrak™ Manual for steps on how to search images imported from a

USB drive.

## Examination of Digital Images

8.6.1.  CSIpix® may be utilized to enhance friction ridge impressions which require digital

enhancement or an enhancement may be requested through the Forensic Photography Unit.

8.6.2.  The image’s unique DCS Digital Image ID Number will be used on note sheets and

laboratory reports to identify a digital image that has been examined.

8.6.2.1. The Lift Card number assigned by the Digital Image/Graphics Specialist will be

referenced if a hard copy of a digital image is printed for examination purposes.

## Limitations

NA

## Safety

N/A

## References

11.1 Forensic Photography Technical Procedures Manual

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/18 | 1 | New 2018 Technical Procedures |
| 7/8/19 | 2 | Section 5.4 Changed NDQ to NSD; Removed NV and changed to allow for NVI for entire photo log |
| 9/10/20 | 3 | Changed print to friction ridge impression throughout |

# Chapter 5: ACE-V and Examination Markings

## Purpose

This procedure describes the analysis, comparison, evaluation, and verification (ACE-V) of friction ridge impressions and markings used in the examination of latent evidence.

## Scope

This procedure applies to all persons assigned to and performing examinations and AFIS searches in the Latent Print Unit.

## Abbreviations

| ANALYSIS |
| --- |
| ABV | Above | DSR | Disassociated ridges |
| AGG | Aggregate impression(s) | DST | Distortion |
| AGR | Agree/Agreement | DUP | Duplicate |
| AMP | Amputation | DWN | Down |
| APP | Appendage | EDG | Edges |
| ART | Artifact | ENC | Enclosure |
| BIF | Bifurcation | ENR | Ending ridge |
| BLW | Below | EXP | Excess Powder |
| BRG | Bridge | FAL | Fault line |
| BRK | Broken | FR | Fair |
| BRM | Brush Marks | FRG | Fragmented |
| BTM | Bottom | FUR | Furrows |
| BTW | Between | GD | Good |
| CHD | Child | GL | Gel lift |
| CHM | Chemically developed | HOK | Hook |
| CLR | Clarity | HR | Horizontal reversal |
| CMP | Compression | HVY | Heavy |
| CNE | Cannot exclude | ICP | Incomplete |
| CRE | Core | INR | Incipient ridges |
| CRH | Cross hatching | INT | Intervening |
| CRO | Crossover | L1 | Level 1 detail |
| CST | Cluster | L2 | Level 2 detail |
| DBL | Double tap | L3 | Level 3 detail |
| DEP | Deposition | LAT | Lateral |
| DEV | Deviation (ridge path deviation) | LG | Large |
| DIG | Digital image | LT | Light |
| DIS | Disagreement | MED | Medium |
| DIT | Distal Transverse (Crease) | MIN | Minimal |
| DK | Dark | MKS | Mikrosil lift |
| DLT | Delta | MLT | Multiple |
| DOT | Dot/s | MNT | Minutiae |
| DSC | Discrepancy | MST | Moisture |
| MV | Movement | SHR | Short ridge |
| NCP | Not compared | SM | Smearing |
| NFR | Non-friction ridge skin | SMA | Small |
| NCK | Not comparable to available knowns | RDG | Ridges |
| OK | Okay | REC | Recurve |
| OPS | Opposing ridges | RGC | Ridge count |
| OVI | Of value impression | RVS | Reverse |
| OVL | Overlapping impressions | SML | Simultaneous impressions |
| PAT | Patent print | SPR | Spur |
| PDR | Developed by powder | SPY | Spotty |
| PH | Photo | STG | Staggered |
| POR | Pore/s | SUF | Sufficient |
| PR | Pressure | SUP | Supports |
| PRT | Partial | TGZ | Target zone |
| PXT | Proximal Transverse Crease | TOP | Top |
| QU | Quality | TR | Tonal reversal |
| QA | Quantity | TRI | Trifurcation |
| RAL | Radial Longitudinal (Crease) | TX | Textured surface |
| RD | Ridge detail | VOD | Void |
| RDF | Ridge flow | PO | Poor |
| Imp? | Latent impression with orientation in question |  |  |
| DATABASES / SEARCHES |
| DBS- | Database search with negative result | NSD | Not Suitable for Database Entry |
| DBS | Database search | NIST | Nist archive |
| FS | Federal Search | NVI | No value item |
| LS | Local Search | RVS | Reverse search |
| LVS | Live Scan | SS | State Search |
| NGI | Next Generation Identification – Federal Search |  |
| KNOWNS |
| Elims | Elimination prints | KS | Known standards |
| Ink | Inked impressions | LVS | Live scan |
| KFP | Known fingerprints | MCS | Major case style prints |
| KFT | Known foot prints | PMF | Post mortem fingers |
| KLF | Known left foot | PML | Post mortem palms |
| KPP | Known palm prints | PMP | Post mortem prints |
| KRF | Known right foot |  |
| LATENTS |
| LFP | Latent fingerprint | LPP | Latent palm print |
| LFT | Latent foot print | LRD | Latent ridge detail |
| LJT | Latent joint |  |
| PROCEDURES |
| AA | AFIS Association | REC | Received |
| APV | Approved | REQ | Request |
| COC | Chain-of-custody | RPT | Report |
| LEC | Latent evidence control room | TCR | Technical Review |
| LPU | Latent Print Unit | TFT | Transferred to |
| NTF | Notified | VFB | Verified by |
| PND | Pending | DOA | Date of Arrest |
| PRINTS |
| ? | Unknown/undetermined marking or impression, or questioned anatomical location | LL, / | Left slant loop |
| ?PT | Unknown/questionable pattern type | LP | Loop |
| AR | Plain arch | ONL | Outward nose loop |
| CPD | Carpal delta | P | Palm |
| CPLW | Central pocket loop whorl | R | Right |
| CRS | Crease(s) | RL, \ | Right slant loop |
| DLW | Double loop whorl | SCR | Scar |
| F | Finger | SD | Extreme side of finger/digit |
| HTN | Hypothenar | TA | Tented arch |
| IDL | Interdigital palm | TN | Thenar |
| INL | Inward nose loop | TP | Tip of finger |
| JT | Joint | VES | Vestige |
| L | Left | WH | Whorl |
| WP | Writer’s palm |  |
| RESULTS |
| EXC | Exclusion | NEG | Negative |
| ID | Identified/individualized | NID | Not identified/individualized |
| INC | Inconclusive | NMC | Need major case style prints |
| NBF | Need better fingers | NPM | Need post mortems |
| NBP | Need better palms | NTP | Need tips |
| NBS | Need better standards | VER | Verified |

## 4. Equipment, Materials, and Reagents

4.1. Magnifiers

4.2. Pointers

4.3. Comparators

4.4. Protective personal equipment

## 5. Case Notes

5.1. The abbreviations listed in Section 3 are the authorized markings and abbreviations that may be

used in examination and documentation of friction ridge impressions.

5.2. The Latent Print Exam Note Sheet (CCBI-163) will be used to document friction ridge

impression examinations.

5.3. Friction ridge impression examination notes documented on CCBI-163 are considered complete

after the ACE process has been completed and the case file has been submitted for verification

or review.

5.3.1. Corrections or additions to a completed CCBI-163 will be made in accordance with the

Laboratory Administrative Procedure for Laboratory Case Record Contents, Management,

and Retention.

## 6. Analysis, Comparison, Evaluation and Verification (ACE-V)

6.1. All ACE-V examinations involve the observation and use of both qualitative and quantitative

data present within a friction ridge impression in order to reach a conclusion.

6.2. Developed friction ridge impressions can be captured on lift cards, photographs, or digital

media.

6.3. ACE-V examinations may only occur if a subject has been generated through an AFIS search or

if a subject has been provided by a requesting agency. The determination of suitability for a

friction ridge impression to be entered into AFIS is not considered to be part of an ACE-V

examination.

6.4. Analysis is the assessment of a friction ridge impression to determine suitability for comparison.

6.4.1. Analysis includes the assessment of each individual friction ridge impression to determine

its sufficiency for comparison.

6.4.2. The assessment includes examination and documentation of the matrix,

Substrate, and the presence of levels 1, 2, and 3 detail if present.

6.4.3. Other factors considered include the following:

- Quality (clarity) and quantity of detail

- Anatomical source (finger, palm, foot, toe)

- Residue/matrix

- Distortion

- Deposition

- Surface/substrate

- Environment

- Development medium

- Preservation method

- Condition of the friction skin

6.5. Comparison is the side-by-side simultaneous observation of friction ridge detail from an

unknown impression to known impression to determine whether the detail in two impressions

are in agreement or disagreement based upon similarity, sequence and special relationship.

6.5.1. If a comparison cannot be completed due to the lack of clarity and/or anatomical region

being recorded in the currently available known standards, or there is no impression

present, or the friction ridge impression possesses inadequate unique details to be able to be

compared to currently available known standards then the conclusion of “Not Comparable

to Knowns” will be reported.

6.6. Evaluation is the formulation of a conclusion based upon analysis and comparison of friction

ridge impressions from an unknown impression to known impression. There are three 	conclusions that can be reached:

6.6.1. Identification

6.6.2.  Exclusion

6.6.2.1. Exclusion decisions will only be reached when disagreement is observed in more 				than one target group of Level 2 characteristics when associated with a Level 1 				focal point. A Level 1 focal point may be a core, delta, characteristic shape 				or large field of ridge detail with a characteristic crease and/or ridge flow pattern. 			The Level 1 focal point along with the Level 2 target groups used for the 					exclusion will be documented in case notes.

6.6.3. Inconclusive

6.6.3.1. The reason for an inconclusive conclusion will be documented in case notes.

6.7. Verification is the application of analysis, comparison, and evaluation (ACE) by a subsequent

Latent Print Examiner to either support or refute the conclusion of the original Latent Print  	Examiner. The verification process can result in differing conclusions between the

original Latent Print Examiner and the verifying Latent Print Examiner.

6.7.1. The verification process, to include any disagreements resulting in a change to an original

evaluation conclusion will be documented in the examination notes.

6.7.2. All identification and exclusion conclusions must go through the verification process.	6.7.3. Other conclusions are exempt from verification.

6.7.4. Verifiers are considered to be examiners for consultation purposes.

6.7.5. Any Latent Print Examiner providing significant consultation for a case will not be

assigned to perform the verification for that case.

## 7. Conflict Resolution

7.1. Conflicts that arise in the verification or review process will be addressed according to the

conflict resolution process described in the Laboratory Administrative Procedure for Technical

and Administrative Reviews. The verifier will be considered as a reviewer for conflict resolution

purposes.

7.2. The Forensic Manager and Latent Print Unit Technical Leader will evaluate the conclusion and

determine whether the indecision or disagreement is justifiable.

7.2.1. For Identification and Exclusions conclusions, if the indecision or disagreement is

justifiable, the conclusion will be reported as “Inconclusive” by the Latent Print

Examiner.

7.3. The Quality and Suitability Chart in Chapter 1 will be utilized as a guide in Conflict Resolution

for NVI and NSD conclusions.

7.3.1. For NVI conclusions, if the indecision or disagreement is justifiable, the conclusion will

be reported as NSD.

7.3.2. For NSD conclusions, if the indecision or disagreement is justifiable, the impression will

be searched in AFIS.

7.4. Conflict Resolutions arising during verification will be dated and documented in the verification

section of the examination notes.

## 8. Erroneous Conclusions

8.1. Erroneous conclusions occur after the ACE-V process is complete.

8.2. An erroneous conclusion occurs when a subsequent conclusion is determined, which is contrary 	to the reported conclusion of a completed examination.

8.3.  Any suspected erroneous conclusion or erroneous decision by a Latent Print Examiner or

Verifier will be treated as a potential nonconformity and the Laboratory Administrative

Procedure for Corrective and Preventative Action will apply.

## Examination Markings

  - Latent Print Examiners will initial all latent envelopes / containers that come into their possession

in a case and ensure latent envelopes / containers are labeled with the CCBI case number and the 	CCBI item number.

  - Latent Print Examiners will initial each lift card examined and ensure the lift card is labeled with

the CCBI case number and lift card number.

  - The standard markings on the lift card / photograph evidence by the Latent Print Examiners will 	consist of a minimum the CCBI case number and the Latent Print Examiner’s initials.

  - AFIS Database Searching Markings

    - When friction ridge impressions have been entered into an AFIS for searching the following markings will be placed on the lift card photograph, or r a hard copy of a digital image containing the friction ridge impression to indicate which impressions were entered into which database system:

      - Local Search = a dot is placed over the top of the print (or “LS” for Photo Logs)

      - State Search = “SS” is placed over the top of the print, near the dot

      - Federal Search = “FS” is placed over the top of the print, near the “SS”

    - Digital images imported directly into AFIS will be marked on a printed photo log.

    - If the anatomical position of the friction ridge impression cannot be ascertained, a  “?” will be placed near the database search markings listed above. If an impression is searched as both a finger and palm, “F/P” will be placed near the database search markings. If a digital version of a friction ridge impression image is searched, and a hard copy exists, “DIG” will be placed on the hard copy. The markings will also include the initials of the Latent Print Examiner who searched the impression. There will be no examination markings made on the lift cards for friction ridge impressions screened for database search.

  - Examination Markings

    - Latent Print Examiners will indicate a latent fingerprint of value for comparison byplacing a semi-circle, “ ͡   ”, over the top of the print to demonstrate the correct anatomical position of the finger.

    - Latent Examiners will indicate a latent palm print of value for comparison, by placing a bracket, “˽”, at the base of each latent palm print to demonstrate the correct anatomical position of the palm.

    - Latent Examiners will indicate joints or other unknown impressions of value for comparison, by placing parallel lines, “||”, alongside the impressions.

    - If the anatomical position of the impression cannot be ascertained, Latent Print Examiners will place a “?” near the semi-circle,a bracket or parrellel comparison markings.

    - When indicating an identification on the latent lift card, Latent Print Examiners will place the identification symbol, “Ø”, near the print that was identified.

    - Latent Print Examiners may indicate simultaneous impressions by marking a connected semi-circles placed over the top of simultaneous impressions. Latent Print Examiners must indicate the correct anatomical position for simultaneous impressions.

      - The simultaneous markings may only be placed over the impressions when the latent prints are being identified to an individual, and not as part of the analysis process.

    - The following information must be placed on the lift card and CSIpix hard copy printouts containing identifications:

      - Finger number/palm

      - Subject identified

      - Ø

      - Date the identification was effected

      - Initials of the Latent Print Examiner

    - Identification markings will be as close as possible to the friction ridge impression identified and will ensure the markings are permanent in so far as possible.

  - Verification Identification Markings

    - The Verifier will place the following information on the lift card and CSIpix hard copy printouts containing identifications:

      - Finger number/palm

      - Subject identified

      - Ø

      - “V” encircled

      - Date of the verification

      - Initials of the Verifier

    - The known standard finger/palm print card must also be marked to indicate the approximate location of area utilized for the identification.

  - Ten Print Card Markings

    - Latent Print Examiners and Verifiers will place the following information on the ten print cards for identifications and verifications:

      - Ø

      - Initials of the Latent Print Examiner/Verifier

      - Date of the identification/verification

      - For verification only: “V” encircled

## Limitations

  - A set quantity of characteristics is not required by the CCBI Latent Print Unit to determine the value of a friction ridge impression or to effect identifications.

## 11. Safety

N/A

## 12. References

12.1. Advances in Fingerprint Technology, 2nd Ed., Henry C. Lee & R. E. Gaensslen, 2001

12.2. Friction Ridge Skin: Comparison and Identification of Fingerprints, James F. Cowger, 	1983

12.3. ISO/IEC 17025-General Requirements for the Competence of Testing and Calibration 	Laboratories, International Organization for Standardization, Geneva, Switzerland, 2005.

12.4. The Science of Fingerprints, Federal Bureau of Investigation, 1984

12.5. Scott’s Fingerprint Mechanics, Robert D. Olsen, 1978

12.6. SWGFAST, Scientific Working Group on Friction Ridge Analysis Approved Guidelines 	& Friction Ridge Examination Methodology for Latent Examiners

12.7. SWGFAST, Standards for Examining Friction Ridge Impressions.

12.8. SWGFAST, Standard for the Documentation of Analysis, Comparison, Evaluation, and 	Verification.

12.9. Manual of Fingerprint Development Techniques, 2nd Ed., British

12.10. Home Office, Police Scientific Development Branch, 2000.

12.11. Quantitative-Qualitative Friction Ridge Analysis: An Introduction to Basic and Advanced 	Ridgeology, David Ashbaugh, 1999

12.12. Documenting and Reporting Inconclusive Results; Maceo, Alice, Journal of Forensic 	Identification, 61 (3), 2011\227

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/2018 | 1 | New 2018 Technical Procedures |
| 3/12/2018 | 2 | Updated Conflict Resolution (section 8) and Erroneous Conclusion (section 9) for clarification of process, definition, and documentation |
| 4/17/18 | 3 | 6.4.1 added exclusions to require verifications 11.5.3 last sentence changed from “additional” to “examination” markings made on lift cards |
| 6/18/18 | 4 | 5.2 Removed Database Search Note Sheet (CCBI-160) and LP Examination Single ID Note Sheet (CCBI-166) |
| 10/15/18 | 5 | Removed Consultation (See LAPM for Lab-wide Consultation procedure); Revised Conflict Resolution section to reference LAPM chapter for Technical and Administrative Review, and removed sections of Conflict Resolution addressed in LAPM; added 6.4.3 and 6.4.4 |
| 7/8/2019 | 6 | Changed SICAR to FPX; added abbreviations to include NCK and NVI; Removed NDQ and NV; Removed definition of identification, exclusion, inconclusive, and verification (see glossary); Removed 10.6.7 “NV” at corner of card requirement |
| 10/21/2019 | 7 | Removed FPX from Database/Search abbreviations; Removed all Footwear and Footwear Results abbreviations; Removed Equipment/Materials associated with footwear; Removed Footwear Examination Note Sheet and Footwear Database Search Note Sheet from Case Notes documentation; Removed Footwear Examination Section (9); Removed FPX Database Markings; Removed 12.1 regarding footwear standards from Safety section; Removed associated Footwear Examination References (13.13-13.22) |
| 9/10/20 | 8 | Removed 5.2.1 and modified 5.2 to include CCBI-163; Modified 6.6 to describe verification as a process, added 6.6.1, 6.6.2 added conclusions and changed verified to go through verification process, changed supervisor to manager throughout removed “of” in 9.6, changed fonts in section 9 sub-headers, added NVI and NSD conclusions to conflict resolution; changed print to friction ridge impression or impression throughout; added 6.6.2.1 regarding requirements for exclusions |

# Chapter 6: Case File Reviews and Reports

## Purpose

This procedure establishes additional technical review and reporting requirements for the Latent Print Unit.

## Scope

This procedure applies to all persons assigned to and performing examinations in Latent Print Unit.

## Abbreviations

N/A

## Equipment, Materials, and Reagents

N/A

## Technical Reviews

  - All cases will be 100% technically reviewed.

  - The technical reviewer and the verifier may not be the same individual.

  - Friction ridge impression examination aspects of the technical review, which must be

reviewed when applicable include:

5.3.1. Accurate examination and database information is reflected in the notes and on the

laboratory report

5.3.2. Evidence envelopes are appropriately marked with database, NSD, or NVI and searching

and/or review date/s

5.3.3. Accurate examination and database markings on all jackets, lift cards / questioned

impressions, and known standards

5.3.4. ACE notations are accurate

5.3.5. Case notes and reports include:

5.3.5.1. All evidence items (including digital images)

5.3.5.2. Reference materials listed

5.3.5.3. Condition of the evidence as sealed or unsealed

5.3.6. All identifications and exclusions were verified, and verification statement in report is

accurate.

5.3.7. All AFIS Associations have sufficient corresponding characteristics to conclude the friction

ridge impression associated with the subject likely originated from the source in the AFIS

database.

5.3.8. All No Value Items have insufficient quality, quantity and clarity of friction ridge detail or

morphological pattern present to render it suitable for comparison based on ACE-V

methodology and are Not Suitable for Database Entry (NSD).

  - The Latent Evidence Quality and Suitability Chart in Chapter 1 will be utilized as a guide for

reviewing NVI and NSD decisions.

  - Technical review and administrative review will be completed at the same time by the same

individual, when possible.

## Examinations and Reports

  - General Report Format template will be used for all laboratory reports issued by the Latent Print Unit.

  - The Rapid Notification Email Form (CCBI-168) will be used for Rapid Notifications.

  - The CCBI Agent Narrative Report will serve as the Automated Fingerprint Identification System (AFIS) entry report for cases in which an initial database search does not generate an AFIS hit.

  - The following additional information shall be added to the General Report Format template  	 when applicable.

6.4.1. Report the following in the “Items Submitted” section, when applicable:

6.4.1.1. ---Latent Evidence---

Lift Card(s) <insert range>

Call ID # _ / Digital Image ID #_

<Insert total # of digital images>

6.4.1.2. ---Known Standards---

Subject: <insert full subject name>

<Unique ID Type>: <insert unique ID number>

Date Fingerprinted: <insert date> (applicable for Ten Print Examinations only)

6.4.2. The “Type Examination Requested” will be reported as follows:

6.4.2.1. Database Searching – All latent evidence received by the Latent Print Unit is

reviewed to determine suitability for AFIS searching. AFIS quality impressions

will be entered.

6.4.2.2. AFIS Association –a notification of a presumptive lead based on an Automated 				Fingerprint Identification System (AFIS) search result.

6.4.2.3. Limited Examination – An examination limited in scope to the identification of

one (1) friction ridge impression per subject in the case or to a specific request

made by the investigating agency or the prosecuting attorney.

6.4.2.4. Full Case Comparison – An analysis and comparison of all latent	 				evidence to all known standards.

6.4.2.5. Ten Print Examination-  A comparison of a deliberately acquired source

impression(s) to a designated known standard.

6.4.2.6. Reverse Search – Known standards are added to the local database in order to

generate potential reverse case associations.

6.4.3. The “Results and Conclusions” will be reported as follows, when applicable:

6.4.3.1. “Methods are as listed in the results.”

6.4.3.2. ---No Value Item(s)---

All latent impressions within these items were concluded to have

insufficient quality, quantity and clarity of friction ridge detail or

morphological pattern present to render them suitable for database entry or

suitable for comparison based on ACE-V methodology.

Item(s): < Insert item number(s)>

Review Date(s): <Insert dates for the reviews conducted>

6.4.3.3. ---AFIS Searches---

Automated Fingerprint Identification System (AFIS): A computerized 					   fingerprint storage, matching, and retrieval system.

Local Database: Lift Card(s)/ Digital Image ID #(s) <Insert lift card 					   /Digital Image ID number(s)>

State Database: Lift Card(s)/ Digital Image ID #(s) <Insert lift card 					  /Digital Image ID number(s)>

Federal Database: Lift Card(s)/ Digital Image ID #(s) <Insert lift card 					  /Digital Image ID number(s)>

Not Suitable for Database Entry Lift Card(s)/Digital Image ID #(s)/Call ID#

<Insert lift card number(s)/Digital Image ID#(s)/Call ID#>

Search/Review Date(s): <Insert dates for the searches or reviews conducted>

6.4.3.4. ---AFIS Association(s)---

AN AFIS ASSOCIATION IS NOT A LATENT IMPRESSION IDENTIFICATION. An AFIS Association is an AFIS search result determined to have sufficient corresponding characteristics to conclude the latent impression associated with the subject likely originated from the source in the AFIS database. A confirmatory examination of the latent impression(s) may be completed upon request.

Subject: < Insert subject LASTNAME > <(Deceased), if applicable>

Lift Card #/Digital Image ID#_: “<Insert location of latent impression>”

6.4.3.5. ---Identification(s)---

A conclusion by a Latent Examiner, which has been verified by another

Latent Print Examiner, through Analysis, Comparison, Evaluation, and

Verification (ACE-V methodology) that an unknown friction ridge impression

originated from the source of a known friction ridge impression.

Subject: < Insert subject LASTNAME >

Lift Card #/Digital Image ID#_: “<Insert location of latent impression>”

Identified: 1X

6.4.3.6. ---Exclusion(s) & Inconclusive(s)---

Exclusion - A conclusion by a Latent Examiner through Analysis,

Comparison, Evaluation, and Verification (ACE-V methodology) that an

unknown friction ridge impression did not originate from the source of a known

friction ridge impression.

Inconclusive - Neither an identification nor an exclusion conclusion can be

Determined through Analysis, Comparison, Evaluation, and Verification (ACE-V

methodology).

Inconclusive – Due to policy

Lift Card #/Digital Image ID#_: “<Insert location of latent impression>”

Excluded: <Insert subject(s) LASTNAME>

Inconclusive: <Insert subject(s) LASTNAME>

6.4.3.7. ---Not Comparable to Knowns---

The latent impression is not comparable to the known standards currently

available due to the lack of clarity and/or anatomical region being recorded in

the currently available known standards, or there is no impression present, or

the latent impression present possesses inadequate unique details to be able to

compare to currently available known standards.

Lift Card #/Digital ID#_:“<Insert location of latent impression>”

Call ID#

6.4.3.8. Ten Print Examination Result:

Finger #(s) <Insert finger #(s) and description(s)> from the following ten print

card(s) <was/were> compared to finger #(s) <Insert finger #(s) and

description(s)> from  the known standard using Analysis, Comparison, 					Evaluation, and Verification (ACE-V methodology), and <was/were>

determined to have originated from the same source.

Finger #(s) <Insert finger #(s) and description(s)> from the following ten print

card(s) <was/were> compared to finger #(s) <Insert finger #(s) and 	description(s)> from the known standard using Analysis, Comparison, 	Evaluation, and Verification(ACE-V methodology), and <was/were>

determined to NOT have originated from the same source.

Ten Print Cards:

Subject: <insert full subject name>

<Unique ID Type>: <insert unique ID number>

Date Fingerprinted: <insert date>

6.4.4. The following additional information statements may be used in the “Results and 		 	          Conclusions” section of the lab report, when applicable:

6.4.4.1.---Additional Information---

6.4.4.1.1. Lift cards which contain latent impressions with identifications, 					  exclusions, or inconclusive results may also contain additional latent 					  impressions that are not comparable to the Known Standards currently

available.

6.4.4.1.2. Requests to Compare will not be accepted for any evidence item(s)

reported as No Value Items.

6.4.4.1.3. Impressions determined to be Not Suitable for Database Entry may be

suitable for comparison with a request accompanied by a known

exemplar.

6.4.5. Report the following in the “Disposition” section, when applicable:

6.4.5.1. The following evidence was returned to the submitting agency: Item #_				6.4.5.2. The above/remaining evidence has been retained on file at CCBI.				6.3.5.3. No further action will be taken in this case unless a completion request is 				received. For further examination of the evidence in this case, email 					ccbilatentrequest@wakegov.com.  Enter “COMPLETE <insert “LIMITED” or 				“AA”>” and the CCBI case number in the subject line of the email. Attach a 				completed CCBI Laboratory Request for Examination Form. On the form, list the 			subject name(s) and a unique ID# for which the completion is requested.

6.3.5.4. Latent Print Examiner <Insert examiner name>, <insert certification(s)> 				             verified the <insert conclusion(s)>.

## Limitations

N/A

## Safety

N/A

## References

N/A

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/18 | 1 | New 2018 Technical Procedures |
| 3/12/18 | 2 | Updated 5.9 to no longer allow for a technical reviewer and verifier to be the same individual Updated 5.1 to make a minimum of 25% of latent print cases received daily to be flagged for technical review |
| 6/18/18 | 3 | 5.10.6 added “and exclusions” Added new information for the structuring of latent unit reports to section 6. Removed mention of stop works – addressed in LAPM. |
| 7/5/18 | 4 | Revised definition of AFIS Association for “Type of Examination Requested” on reports (6.3.2.2) and the wording on AFIS Association “Results and Conclusion” explanation on reports (6.3.3.2) |
| 8/1/18 | 5 | Removed 5.1-5.6; Changed 5.7 (5.1) to “All cases will be 100% technically reviewed”; Removed 5.8 and 5.8.1; Added 5.3.7 regarding the review of AFIS Associations. |
| 7/8/19 | 6 | Changed SICAR to FPX; changed ten print results statements; added No Value Item Statement; Changed No Value Latent Evidence result option to Not Comparable to Knowns and added definition; Added additional statement to Database searching and added definition to Ten Print Examination |
| 10/21/2019 | 7 | Removed “AGR” abbreviation; Removed footwear in 5.3; Removed Footwear Examinations and FPX searching sections in reporting – Items submitted, type examination requested, results and conclusions; Removed 6.3.4.1.2 – 6.3.4.1.6 in additional information section |
| 9/10/2020 | 8 | Added 6.3 regarding Agent Narrative Report serving as AFIS entry report; Added ACE-V methodology to result statements for ten print examinations and inconclusive results; changed latent print to latent impression throughout; Added reference to quality and suitability chart for technical reviews; removed TCR from abbreviations; 6.4.2.1 changed value to suitability ; added methods statement to “Results and Conclusions” section |

# Chapter 7: Collection of Major Case Style Impressions and Processing Hands and Feet of Deceased Individuals

## Purpose

This procedure establishes the process for collecting of major case style impressions and the processing of hands and feet of deceased persons.

## Scope

This procedure applies to all persons assigned to and performing examinations in Latent Print Unit.

## Abbreviations

  - OCME – The Office of the Chief Medical Examiner

## Equipment, Materials, and Reagents

  - Personal Protective Equipment (i.e., Eye protection, footwear covers, gloves, face shield visor,

surgical mask, and lab coat or apron)

  - Disinfectant cleaning agent

  - Biohazard labels

  - Tissue builder and syringe(s)

  - Ethyl or isopropyl alcohol

  - Mild soap

  - Salt/Fabric softener (Downey)/water mixture (1tbsp. table salt, 25ml Downey, 500ml water)

  - 10% bleach solution

  - Scalpel handle(s) and scalpel blade(s)

4.10. Fingerprint powder (dark)

4.11. Fingerprint brush/wand/cotton

4.12. Fingerprint ink

4.13. Ink slab

4.14. Postmortem printing spoon

4.15. White contact paper

4.16. Fingerprint cards, white paper, clear acetate sheets, clear plastic sheets

4.17. Soft bristled brush

4.18. Digital camera

4.19. Measuring device

## Collection of Major Case Style Impressions

  - The impressions will be collected as evidence items in the case, and a Technical Field Assistance report will be generated.

  - Methods for the collection of major case style impressions and post mortem impressions are:

    - Fingerprint Powder Method

5.6.1.1. Apply fingerprint powder evenly to all the surfaces of friction ridge skin. The

powder is best applied with cotton swabs.

5.6.1.2. Affix paper directly to the areas of the skin coated with powder.

5.6.1.3. Slowly peeled away revealing the friction ridge impressions.

5.6.1.4. Apply the contact paper clear acetate sheets or clear plastic sleeves to preserve

the images.

    - Fingerprint Ink Method

5.6.2.1. Apply fingerprint ink to the skin using an ink roller, or by pressing the friction

ridge skin against an ink pad (the ink is best applied using an ink roller).

5.6.2.2. Press the skin against a white or light-colored paper or fingerprint card to capture

the impressions.

5.6.2.3. Ink post-mortem impressions are best captured using a post-mortem print spoon

and slivers of paper.

  - These methods can be used multiple times to capture the best possible impressions.

  - They may also be used in conjunction with one another.

  - Document from where each impression was collected and the finger/palm from which they originated on the medium capturing the impression.

## Processing of Hands and Feet of Deceased Individuals

  - The processing and collection of post-mortems within the CCBI laboratory will be completed in the CCBI Wet Lab (Room C1379) in the fume hood, or in a CCBI garage bay vehicle garage utilizing the ventilation air tube devices if C1379 is unavailable or not practical.

  - Personal protective equipment will be utilized by the Latent Print Examiner.

  - Steps to be taken when processing and/or collecting post-mortem impressions:

    - Cover the work area in the fume hood and on the counter space using a clean paper liner.

    - Place any container with the body parts t in the sink if possible.

    - Remove the body parts from the container.

    - If soiled, rinse gently with water and mild soap. A soft bristled brush may be used to

attempt to dislodge the debris from the friction ridge surfaces.

    - Remove the moisture from rinsed parts, using disposable paper towels, then allow the

items to air dry in the fume hood.

    - The container, lid, and any other substances contained within (i.e. fluids) should be placed

in the sink when possible.

    - Once the parts are dry, inspect all surfaces thoroughly for areas of significant friction ridge

detail.

    - Apply either fingerprint powder or fingerprint ink to any significant friction ridge skin

areas.

    - If the hands/feet are shriveled, but ridge detail is still present, they may be rehydrated

using water, a soap/water mix, or fabric softener/water mix.

    - A commercial tissue builder may be injected into the fingers or palms using a syringe.

6.4.10.1. Inject tissue builder into the tips of the fingers or the side of the palm so as not

to destroy any ridge detail.

6.4.10.2. Inject enough tissue builder to add pliability and restore the finger/palm to the

approximate original state.

6.4.10.3. If the tissue builder injection or soaking is successful, the remains may then be

inked or powdered.

    - If rehydration is unsuccessful the remains may be rinsed and patted dry, and the skin may

be removed according to the following steps:

6.4.11.1. Using a scalpel handle and blade, carefully and slowly remove the layers of skin

containing ridge details as one solid sheet or large pieces.

6.4.11.2. Place each piece of skin in a container and is label as to its origin. In some

instances, the remains may be in such a state of decomposition that the

finger/palm skin may be removed without an attempt first being made to take

the impressions with the skin attached to the hands.

6.4.11.3. Each piece of skin will then be photographed with a measuring device, inked,

and/or powdered as referenced in the procedures mentioned above.

6.4.11.4. If necessary, the skin may be placed over the gloved fingers and/or hands of the

Latent Print Examiner to assist in the capture of the best possible impressions.

    - Once the best possible impressions have been collected, the remains and any additional

items produced because of the processing (i.e. skin and/or palm pieces) will be

returned to the original container.

    - The container will then be sealed appropriately.

    - Place the container in the refrigeration until it can be returned to a representative of the

contributing agency.

## Limitations

  - Decomposition may cause slippage or tearing of the skin and preclude the collection of friction ridge impressions.

  - Poor quality of the remains of the deceased person may preclude collection of friction ridge impressions.

## Safety

  - Latent Print Examiners responding to the OCME will remain cognizant of potential biohazards when collecting impressions.

  - Evidence packaging and materials containing post-mortem prints will be clearly labeled as “biohazard”.

  - Latent Print Examiners will discard all used materials in marked biohazard bags.

  - Latent Print Examiners will clean all work surfaces and used instruments thoroughly with a 10% bleach solution after processing.

  - Personal protective equipment will be utilized by the Latent Print Examiner when collecting post mortem impressions.

  - The consumption of food and/or drinks is prohibited during the processing of human remains.

## References

  - Buckingham, A. “The Use of Plastic Receiving Surfaces in the Fingerprinting of Mummified Finger.” Journal of Forensic Identification. Vol. 44,3:251-253 (June 1994)

  - Cutro Sr., Brent T., The Fingerprint Sourcebook, Chapter 4, Recording Living and Postmortem Friction Ridge Exemplars, International Association for Identification, et al., 2001, pages 4.3-4.17.

  - Cowger, J.F., Taking Inked Prints, Friction Ridge Skin, Comparison and Identification of Fingerprints, CRC Press, Boca Raton, Florida, 1993, pages 9-33.

  - “FBI Problems and Practices in Fingerprinting the Dead.” FBI Law Enforcement Bulletin, (Revised May 1977).

  - “Proper Procedure for Taking Major Case Prints.” FBI Law Enforcement Bulletin, (July 1976).

  - Futrell, I. “Hidden Evidence: Latent Prints on Human Skin.” FBI Law Enforcement Bulletin. (1996): 1-4.

  - “Identifying Disaster Victims.” FBI Law Enforcement Bulletin. (Revised February 1986): 1-4.

Olson, Robert, Scott’s Fingerprint Mechanics, Charles C. Thomas Publisher: Springfield, IL,

1978.

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/2018 | 1 | New 2018 Technical Procedure |
| 9/10/2020 | 2 | Changed latent print to friction ridge impression throughout; changed latent examiner to latent print examiner throughout |

# Chapter 8: Glossary

- Analysis, Comparison, Evaluation & Verification (ACE-V) – The comparison methodology utilized for friction ridge impression evidence. ACE-V methodology is used when a subject has been generated through an AFIS search, or when a subject has been provided by a requesting agency.

- Automated Fingerprint Identification System (AFIS) – A tool for searching finger and palmprints. Friction ridge impressions are entered into the database, and the computer automatically creates a ranked candidate list between friction ridge impressions and known standards.

- Crime Type Index – Used to delineate between types of cases entered into SPEX and SAFIS:

      - 1- Homicide

      - 2- Robbery

      - 3- Assault

      - 4- Rape/Sexual Assault

      - 5- Kidnapping/Carjacking

      - 6- Burglary

      - 7- Larceny from Auto (LFA) / Recovered Motor Vehicle (RMV)

      - 8- Drug/Weapon Violations

      - 9- Other Death Investigations

      - 0- Other Category: To include Damage to Property (DTP), Hit & Run, Larceny, Found Property, Fraud, Threats, Requests for Service (RFS)

- Database Searching – the use of AFIS to associate a subject with a friction ridge impression through entry of impression evidence or entry of a known standard.

- Erroneous Identification – The incorrect determination that two friction ridge impressions originated from the same source.

- Exclusion – A conclusion by a Latent Print Examiner through Analysis, Comparison, Evaluation, and Verification (ACE-V methodology) that an unknown friction ridge impression did not originate from the source of a known friction ridge impression.

7.    Focal Point – A core, delta, scars, or crease.

8.    Identification – A conclusion by a Latent Print Examiner, which has been verified by another

Latent Print Examiner, through Analysis, Comparison, Evaluation, and Verification (ACE-V

methodology) that a questioned friction ridge impression originated from the source of a known

friction ridge impression.

9.   Inconclusive – Neither an identification nor an exclusion conclusion can be determined through

Analysis, Comparison, Evaluation and Verification (ACE-V methodology).

10.  Known Standards – A set of deliberately recorded finger, palm, or foot print impressions.

11.  Latent Impression – The unintentional recording of friction ridge skin that is not readily visible

to the naked eye.

12.  Major Case Style Impressions – The collection of all the friction ridge skin details on the hands

or feet. This includes the tips of the fingers/toes, joints, sides of the fingers/toes, and all the

surfaces of the palms of the hands and/or soles of the feet.

13. Not Suitable for Database Entry (NSD) – A determination by a Latent Print Examiner that a 	friction ridge impression cannot be entered into an AFIS system due to AFIS limitations and/or

that the entry of the impression into AFIS will not generate a useful result. The Quality and

Suitability Chart in  LPTP01 will be used as a guide when determining the suitability of an

impression to be searched in an AFIS system.  Friction ridge impressions deemed Not Suitable for

Database Entry (NSD) may be suitable for comparison with a request accompanied by a known

exemplar.

14. Next Generation Identification (NGI) – A program used to search the repository of all known

standards maintained by the Federal Bureau of Investigation (FBI).

15. No Value Item (NVI) – An item in which all friction ridge impressions are determined

a) to have insufficient quality, quantity and clarity of friction ridge detail or morphological pattern present to render it suitable for comparison based on ACE-V methodology

b) and Not Suitable for Database Entry (NSD)

The Quality and Suitability Chart in LPTP01 will be used as a guide when determining the suitability for comparison.

16.  Not Comparable to Knowns (NCK) – A conclusion by a Latent Print Examiner that a

comparison cannot be completed due to the lack of clarity and/or anatomical region being

recorded in the currently available known standards, or there is no impression present, or the

friction ridge impression present possesses inadequate unique details to be able to compare to

currently available known standards.

17. Of Value Impression (OVI) – Any friction ridge impression of potential suitability for

comparison.

18. Persons Crime Case – A case involving physical harm or the threat of physical harm to a person.

These cases include, but are not limited to, homicides, rapes, assaults, home invasions, and

robberies.

19. Property Crime Case – A case involving theft or destruction of another person’s property. These

cases include, but are not limited to, burglaries, larceny from autos, and recovered motor vehicles. 20. Rapid Notification– The process used to quickly and efficiently notify investigators when a new

subject has been identified from database searching involving persons crimes and other property

crimes at the request of investigators or the discretion of the Latent Print Examiner.

21. SPEX – An AFIS database used to search the repository generally consisting of Wake County

known standards.

22. State Automated Fingerprint Identification System (SAFIS) – The system used to search the

repository of all known standards collected by agencies throughout the state of North Carolina,

maintained by the North Carolina State Bureau of Investigation.

23. Verified Conclusion – A conclusion by a Latent Print Examiner that has been verified and

supported by another Latent Print Examiner, through the application of ACE-V methodology.

| Revision History |
| --- |
| Effective Date | Version Number | Reason |
| 2/5/18 | 1 | New 2018 Technical Procedures |
| 7/5/18 | 2 | Revise definition of Rapid ID to remove residential burglaries |
| 7/8/19 | 3 | Changed SICAR to FPX; Added definitions for Verification, Not Comparable to Knowns, Not Suitable for Database Entry, No Value Item, Focal Point; Modified definition for Identification, Exclusion, and Inconclusive |
| 10/21/19 | 4 | Added definitions for person crime case and property crime case; removed “independently” from verification definition |
| 9/10/20 | 5 | Removed – Association of Class Characteristics, Foot Print Expert, High Degree of Association, Indications of Non-Association, Lacks Sufficient Detail, Limited Association of Class Characteristics Changed Verification to Verified Conclusion; Modified definition of NSD and referenced the Quality and Suitability Chart in LPTP01 for determining NVI and NSD; removed footwear evidence from 1; added second sentence to 1; Changed Rapid Identification to Rapid Notification; changed print to impression throughout; removed comparing from AFIS; added ACE-V methodology to 9 |

# Text boxes

18-1234-1-RH

Year – Case # – Crime Type Index – Examiner Initials